Quantitative Microsatellite Analysis (QuMA)

(Reference: Ginzinger DG, Godfrey TE, Nigro J, Moore DH 2nd, Suzuki S, Pallavicini MG, Gray JW, Jensen RH. Measurement of DNA copy number at microsatellite loci using quantitative PCR analysis. Cancer Res. 2000 Oct 1;60(19):5405-9.

I. Test PCR Efficiency of  Reference Primers

Reference primers: D2S385

D3S1286

D3S1283

D3S1293

D3S1554

D11S1315

D12S1699

D21S1904

D12S1699

D21S1904

| Master Mix – 96-well plate |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | 1X | 110 X |  | Set up: | 27 x12μL MM = 324μL MM |
| 10X Buffer | 2 μL | 220 μL |  |  | 8 x 4μL DNA = 108 μL MM |
| 25mM MgCl2 | 2 | 220 |  |  |  |
| 25mM dNTPs | 0.16 | 17.6 |  |  | Pipet 16 up of above/well |
| dH2O | 7.54 | 829.4 |  |  |  |
| 20 μM probe (CA12.5 or 10.5) | 0.2 | 22 |  |  |  |
| 5 U/μL Ampli Taq | 0.1 | 11 |  |  |  |
|  | 12 | 1320 |  |  |  |
| Master Mix (MM) | 12 |  |  |  |  |
| DNA | 4 |  |  |  |  |
| Primers | 4 |  |  |  |  |
|  | 20 |  |  |  |  |
| Master Mix – 96-well plate |  |  |  |  |  |
|  | 1X | 110 X |  | Set up: | 27 x12μL MM = 324μL MM |
| 10X Buffer | 2 μL | 220 μL |  |  | 8 x 4μL DNA = 108 μL MM |
| 25mM MgCl2 | 2 | 220 |  |  |  |
| 25mM dNTPs | 0.16 | 17.6 |  |  | Pipet 16 up of above/well |
| dH2O | 7.54 | 829.4 |  |  |  |
| 20 μM probe (CA12.5 or 10.5) | 0.2 | 22 |  |  |  |
| 5 U/μL Ampli Taq | 0.1 | 11 |  |  |  |
|  | 12 | 1320 |  |  |  |
| Master Mix (MM) | 12 |  |  |  |  |
| DNA | 4 |  |  |  |  |
| Primers | 4 |  |  |  |  |
|  | 20 |  |  |  |  |
| Master Mix – 96-well plate |  |  |  |  |  |
|  | 1X | 110 X |  | Set up: | 27 x12μL MM = 324μL MM |
| 10X Buffer | 2 μL | 220 μL |  |  | 8 x 4μL DNA = 108 μL MM |
| 25mM MgCl2 | 2 | 220 |  |  |  |
| 25mM dNTPs | 0.16 | 17.6 |  |  | Pipet 16 up of above/well |
| dH2O | 7.54 | 829.4 |  |  |  |
| 20 μM probe (CA12.5 or 10.5) | 0.2 | 22 |  |  |  |
| 5 U/μL Ampli Taq | 0.1 | 11 |  |  |  |
|  | 12 | 1320 |  |  |  |
| Master Mix (MM) | 12 |  |  |  |  |
| DNA | 4 |  |  |  |  |
| Primers | 4 |  |  |  |  |
|  | 20 |  |  |  |  |
| Master Mix – 96-well plate |  |  |  |  |  |
|  | 1X | 110 X |  | Set up: | 27 x12μL MM = 324μL MM |
| 10X Buffer | 2 μL | 220 μL |  |  | 8 x 4μL DNA = 108 μL MM |
| 25mM MgCl2 | 2 | 220 |  |  |  |
| 25mM dNTPs | 0.16 | 17.6 |  |  | Pipet 16 up of above/well |
| dH2O | 7.54 | 829.4 |  |  |  |
| 20 μM probe (CA12.5 or 10.5) | 0.2 | 22 |  |  |  |
| 5 U/μL Ampli Taq | 0.1 | 11 |  |  |  |
|  | 12 | 1320 |  |  |  |
| Master Mix (MM) | 12 |  |  |  |  |
| DNA | 4 |  |  |  |  |
| Primers | 4 |  |  |  |  |
|  | 20 |  |  |  |  |

1.  Thaw all reagents on ice, 10X buffer needs to be protected from light.

2. After combining the master mix, pipet 324 μL MM into four microfuge tubes. Add 108 μL of the respective DNA dilutions, i.e. 1 (4ng), 1/10 (0.8 ng), 1/100 (0.16 ng) and 1/1000 (0.032 ng).

3. Make 4-fold dilutions of the std DNA.  Starting with 150 μL @ 1ng/μL

DNA (μL)   dWater (μL)   Total Vol (μL)  Amt DNA (ng)

150         0           150           4

30        120          150           0.8

30         120          150          0.16

30         120          150          0.032

4. Dilute lyophilized primers in 1X TE to make 100 μM stock.  Further dilute stock to 2 μM working stock (forward + reverse primer) in dwater.

i.e. 100 μM Forward primer =   2 μL

100 μM Reverse primer =   2 μL

distil water =   96 μL

100 μL of 2 μM Fwd+Rev working stock

5. Into each well using a repeator, pipet 16 μL MM + DNA mix and then 4 μL respective primer. Apply sealing film. Mix well and centrifuge at 1000 rpm for 5 mins.

6. Run appropriate PCR program.

PCR program for 10.5 CA Repeat  (Shorter probe)

Stage 1: 95°C for 12 mins

Stage 1: 95°C for 20 sec

55°C for 30 sec           40X

72°C for 30 sec

PCR program for 12.5 CA Repeat

Stage 1: 95°C for 12 mins

Stage 1: 95°C for 20 sec

60°C for 30 sec                40X

72°C for 30 sec

Calculations Example:

| PCR Effficiency Average Cts |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Quantity | log | D11S1315 | D3S1554 | D12S1699 | D3S1283 | D3S1293 | D3S1286 | D21S1904 | D2S385 |
| 1000 | 3.00 | 26.38 | 27.71614 | 25.82763 | 26.56695 | 25.40224 | 25.7119 | 26.65323 | 27.08798 |
| 200 | 2.30 | 29.01 | 31.12753 | 28.38162 | 29.02644 | 28.02388 | 28.22422 | 29.49981 | 30.16901 |
| 40 | 1.60 | 32.09 | 33.32945 | 31.50989 | 31.57286 | 30.30248 | 31.05193 | 32.94054 | 32.67458 |
| 8 | 0.90 | 34.02 | 35.53099 | 33.58813 | 34.20833 | 30.97208 | 33.42512 | 34.50719 | 34.76165 |
|  | Slope | 3.7202 | 3.6692 | 3.7784 | 3.644 | 2.7166 | 3.7151 | 3.8632 | 3.652 |
|  | Efficiency | 0.86 | 0.87 | 0.84 | 0.88 | 1.33 | 0.86 | 0.81 | 0.88 |

PCR Efficiency = 10^(1/slope)-1

Primers with PCR efficiency = 88%-105% are acceptable

Once primers to be used are determined, make a pool and repeat the efficiency test with the pooled primers and primer of gene of interest.  The PCR efficiency of the pooled primers should also = 88%-105%

Proceed with experimental samples. Make sure to include normal DNA samples on your plate.

Calculations for DNA Copy Number

1. Calculate average Ct for all samples.

2. Subtract average Ct for the pooled reference from the average Ct of test sample to get ΔCt.

3. Average the ΔCt of all normal samples.

4. Calculate ΔΔCt = ΔCt(test)-Avg ΔCt(Reference pool).

5. Relative DNA Copy # = (2-ΔΔCt) x 2